## Estimated Quantities Worksheet
PROJECT NUMBER 43-25-05 (MP 162.0 & 163.7)
ESTIMATED QUANTITIES WORKSHEET
Ref. | Item |  | Approx. | Unit | Unit | Extension
No. | No. | Item Description | Quantity |  | Price
ROADWAY (Ref. Nos. 1 - 25)
1 | 201 | CLEARING AND GRUBBING | 1 | LUMP SUM
2 | 202 | PAVEMENT REMOVED | 782 | SQ. YD.
3 | 202 | CONCRETE MEDIAN REMOVED | 28 | SQ. YD.
4 | 202 | CURB REMOVED | 116 | FOOT
5 | 202 | PIPE REMOVED, 24" AND UNDER | 12 | FOOT
6 | 202 | GUARDRAIL REMOVED | 500 | FOOT
7 | 202 | CATCH BASIN REMOVED | 2 | EACH
8 | SP 202B | CRACK REPAIR, 1" OR LESS USING SAND ASPHALT | 50 | CU. YD.
9 | SP 202B | CRACK REPAIR, 1" OR LESS USING HOT JOINT SEALER | 3000 | GAL.
10 | SP 202B | CRACK REPAIR, WIDER THAN 1" AND LESS THAN 1" DEPTH USING ITEM SP 404 (PG 64-22) | 50 | CU. YD.
11 | SP 202B | CRACK REPAIR, WIDER THAN 1" AND GREATER THAN 1" DEPTH USING ITEM SP 402 (PG 64-22) | 50 | CU. YD.
12 | SP 202B | 3 CORNER CRACK REPAIR USING ITEM SP 402 (PG 64-22) | 50 | CU. YD.
13 | SP 202B | REPAIR EXISTING EXPANSION JOINT USING ITEM SP 404 (PG 64-22) | 20 | CU. YD.
14 | 203 | EXCAVATION | 261 | CU. YD.
15 | 203 | EMBANKMENT | 27 | CU. YD.
16 | 204 | SUBGRADE COMPACTION | 1596 | SQ. YD.
17 | 606 | GUARDRAIL, TYPE MGS | 150 | FOOT
18 | 606 | GUARDRAIL, TYPE MGS WITH LONG POSTS | 162.5 | FOOT
19 | 606 | MGS BRIDGE TERMINAL ASSEMBLY, TYPE 1 | 4 | EACH
20 | 606 | MGS BRIDGE TERMINAL ASSEMBLY, TYPE 2 | 4 | EACH
21 | 606 | ANCHOR ASSEMBLY, MGS TYPE T | 3 | EACH
22 | 609 | CURB, TYPE 4-A | 16 | FOOT
23 | 609 | CURB, TYPE 6 | 56 | FOOT
24 | 609 | CONCRETE MEDIAN | 256 | SQ. FT.
25 | SP 627 | STONE SHOULDER PROTECTION | 7 | CU. YD.
TOTAL - ROADWAY
EROSION CONTROL (Ref. Nos. 26 - 31)
26 | 659 | TOPSOIL | 50 | CU. YD.
27 | 659 | SEEDING AND MULCHING | 349 | SQ. YD.
28 | 659 | COMMERCIAL FERTILIZER | 0.1 | TON
29 | 659 | LIME | 0.07 | ACRE
30 | 659 | WATER | 1 | MGAL
31 | 832 | EROSION CONTROL | 5000 | EACH
TOTAL - EROSION CONTROL
DRAINAGE (Ref. Nos. 32 - 35)
32 | 602 | CONCRETE MASONRY | 1 | CU. YD.
33 | SP 605 | 6" BASE PIPE UNDERDRAINS | 72 | FOOT
34 | 611 | 18" CONDUIT, TYPE B | 12 | FOOT
35 | 611 | CATCH BASIN, CB-1 | 2 | EACH
TOTAL - DRAINAGE
PAVEMENT (Ref. Nos. 36 - 49)
36 | 254 | PAVEMENT PLANING, ASPHALT CONCRETE (T=1") | 4425 | SQ. YD.
37 | 254 | PAVEMENT PLANING, ASPHALT CONCRETE (T=3") | 6605 | SQ. YD.
38 | 255 | FULL DEPTH PAVEMENT SAWING | 175 | FOOT
39 | SP 302 | ASPHALT CONCRETE BASE, PG64-22 | 148 | CU. YD.
40 | SP 304 | AGGREGATE BASE | 292 | CU. YD.
41 | SP 402 | ASPHALT CONCRETE INTERMEDIATE COURSE, PG64-22 | 318 | CU. YD.
42 | SP 403 | ASPHALT CONCRETE LEVELING COURSE, PG64-22 | 9 | CU. YD.
43 | SP 404 | ASPHALT CONCRETE SURFACE COURSE, USING CRUSHED STONE, PG64-22 | 227 | CU. YD.
44 | 407 | NON-TRACKING TACK COAT | 409 | GAL.
45 | 441 | ASPHALT CONCRETE INTERMEDIATE COURSE, TYPE 1, (449) | 10 | CU. YD.
46 | 441 | ASPHALT CONCRETE INTERMEDIATE COURSE, TYPE 2, (449) | 3 | CU. YD.
47 | 441 | ASPHALT CONCRETE SURFACE COURSE, TYPE 1, (449), PG64-22 | 10 | CU. YD.
48 | 451 | 10" REINFORCED CONCRETE PAVEMENT, CLASS QC1 | 576 | SQ. YD.
49 | SP 451 | FULL DEPTH PAVEMENT REPAIR (ASPHALT) | 220 | SQ. YD.
TOTAL - PAVEMENT
LIGHTING (Ref. Nos. 50 - 65)
50 | 625 | CONNECTION, UNFUSED PERMANENT | 15 | EACH
51 | 625 | NO. 10 AWG 600 VOLT DISTRIBUTION CABLE | 735 | FOOT
52 | 625 | NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE | 426 | FOOT
53 | 625 | NO. 6 AWG 600 VOLT DISTRIBUTION CABLE | 213 | FOOT
54 | 625 | DUCT CABLE, MISC.: 1-1/2" DUCT CABLE WITH THREE NO. 10 AWG 2400 VOLT CABLES | 506 | FOOT
55 | 625 | CONDUIT, 2", 725.051 | 40 | FOOT
56 | 625 | CONDUIT, 3", 725.04 | 296 | FOOT
57 | 625 | CONDUIT CLEANED AND CABLES REMOVED | 220 | FOOT
58 | 625 | LUMINAIRE, UNDERPASS, SOLID STATE (LED), IES-III, LED, 2, 900-5,100 LUMENS AS PER PLAN | 4 | EACH
59 | 625 | TRENCH, 24 DEEP | 585 | FOOT
60 | 625 | UNDERGROUND WARNING/MARKING TAPE | 585 | FOOT
61 | 625 | SERVICE TO UNDERPASS LIGHTING, AS PER PLAN | 1 | EACH
62 | 625 | PULL BOX CLEANED | 5 | EACH
63 | 625 | LUMINAIRE REMOVED | 4 | EACH
64 | 625 | DISCONNECT CIRCUIT | 1 | EACH
65 | 625 | LIGHTING, MISC.: REMOVAL OF SERVICE TO UNDERPASS LIGHTING | 1 | EACH
TOTAL - LIGHTING
TRAFFIC CONTROL (Ref. Nos. 66 - 76)
66 | SP 626 | BARRIER REFLECTOR, TYPE A2 | 9 | EACH
67 | SP 626 | BARRIER REFLECTOR, TYPE B2 | 18 | EACH
68 | 630 | GROUND MOUNTED SUPPORT, NO. 2 POST | 18 | FOOT
69 | 630 | SIGN, FLAT SHEET | 6 | SQ. FT.
70 | 630 | REMOVAL OF GROUD MOUNTED SIGN AND DISPOSAL | 1 | EACH
71 | 630 | REMOVAL OF GROUND MOUNTED POST SUPPORT AND DISPOSAL | 1 | EACH
72 | 642 | EDGE LINE, 4", TYPE 1 (WHITE) | 0.14 | MILE
73 | 642 | EDGE LINE, 6", TYPE 1 (WHITE) | 0.39 | MILE
74 | 642 | CENTERLINE, TYPE 1 (YELLOW) | 0.07 | MILE
75 | 642 | LANE LINE, 6", TYPE 1 (WHITE) | 0.06 | MILE
76 | 642 | CHANNELIZING LINE, 8", TYPE 1 | 682 | FOOT
TOTAL - TRAFFIC CONTROL
STRUCTURE MP 162.0 (Ref. Nos. 77 - 97)
77 | SP 202 | PORTIONS OF STRUCTURE REMOVED | 1 | LUMP SUM
78 | 509 | REINFORCING STEEL, REPLACEMENT OF EXISTING REINFORCING STEEL, AS PER PLAN | 100 | POUND
79 | SP 509 | EPOXY COATED REINFORCING STEEL, GRADE 60 | 66323 | POUND
80 | 510 | DOWEL HOLES WITH NONSHRINK, NONMETALLIC GROUT | 346 | EACH
81 | SP 511(QC2) | QC2 CONCRETE, BRIDGE DECK | 369.4023 | CU. YD.
82 | SP 511(QC2) | QC2 CONCRETE, BRIDGE DECK (PARAPETS) | 33 | CU. YD.
83 | 511 | QC1 CONCRETE, ABUTMENTS | 57 | CU. YD.
84 | 512 | TYPE 2 WATERPROOFING | 112 | SQ. YD.
85 | 516 | ARMORLESS PREFORMED JOINT SEAL | 326 | FOOT
86 | 516 | 1/2" PREFORMED EXPANSION JOINT FILLER | 18 | SQ. FT.
87 | 516 | 1" PREFORMED EXPANSION JOINT FILLER | 21 | SQ. FT.
88 | SP 516A | CRACK REPAIR USING EPOXY INJECTION | 189 | FOOT
89 | SP 516B | SEALING OF CONSTRUCTION JOINTS | 372 | FOOT
90 | SP 519 | PATCHING OF CONCRETE STRUCTURES | 427 | SQ. FT.
91 | 526 | REINFORCED CONCRETE APPROACH SLABS (T=15") | 825 | SQ. YD.
92 | 526 | TYPE C INSTALLATION | 327 | FOOT
93 | SP 527 | FALSEWORK, TEMPORARY BRACING, AND PROTECTIVE STRUCTURES | 1 | LUMP SUM
94 | SP 533D | CONTINUOUS ELASTOMERIC SEAL IN PORTLAND CEMENT CONCRETE JOINT | 35 | FOOT
95 | SP 536 | CONCRETE WEATHERPROOFING, SUBSTRUCTURE | 900 | SQ. YD.
96 | SP 536 | CONCRETE WEATHERPROOFING, BARRIERS AND PARAPETS | 200 | SQ. YD.
97 | SP 536 | CONCRETE WEATHERPROOFING, DECK AND APPROACH SLABS | 1450 | SQ. YD.
TOTAL - MP162.0
STRUCTURE MP 167.3 (Ref. Nos. 98 - 124)
98 | SP 202 | PORTIONS OF STRUCTURE REMOVED | 1 | LUMP SUM
99 | 509 | NO. 4 DEFORMED GFRP REINFORCEMENT | 59489 | FOOT
100 | 509 | NO. 5 DEFORMED GFRP REINFORCEMENT | 35046 | FOOT
101 | 509 | NO. 6 DEFORMED GFRP REINFORCEMENT | 306 | FOOT
102 | 509 | NO. 7 DEFORMED GFRP REINFORCEMENT | 2204 | FOOT
103 | 509 | NO. 8 DEFORMED GFRP REINFORCEMENT | 2436 | FOOT
104 | 509 | NO. 9 DEFORMED GFRP REINFORCEMENT | 1677 | FOOT
105 | SP 509 | REINFORCING STEEL, REPLACEMENT OF EXISTING REINFORCING STEEL, AS PER PLAN | 100 | POUND
106 | SP 509 | EPOXY COATED REINFORCING STEEL, GRADE 60 | 24915 | POUND
107 | 510 | DOWEL HOLES WITH NONSHRINK, NONMETALLIC GROUT | 288 | EACH
108 | SP 511(QC2) | QC2 CONCRETE, BRIDGE DECK | 259.152 | CU. YD.
109 | SP 511(QC2) | QC2 CONCRETE, BRIDGE DECK (SIDEWALK & PARAPETS) | 155 | CU. YD.
110 | SP 511(QC2) | QC2 CONCRETE, ABUTMENT SLABS | 37 | CU. YD.
111 | 512 | SEALING OF CONCRETE SURFACES (EPOXY-URETHANE) | 1613 | SQ. YD.
112 | 513 | WELDED STUD SHEAR CONNECTORS | 738 | EACH
113 | 516 | RESET BEARING, AS PER PLAN | 6 | EACH
114 | 516 | BEARING DEVICE, MISC.,RESET BEARING RETAINER | 1 | LUMP SUM
115 | SP 516A | CRACK REPAIR USING EPOXY INJECTION | 23 | FOOT
116 | SP 516B | SEALING OF CONSTRUCTION JOINTS | 490 | FOOT
117 | SP 519 | PATCHING OF CONCRETE STRUCTURES | 320 | SQ. FT.
118 | 526 | REINFORCED CONCRETE APPROACH SLABS (T=12"), AS PER PLAN | 128 | SQ. YD.
119 | 526 | TYPE A INSTALLATION | 77.334 | FOOT
120 | SP 527 | FALSEWORK, TEMPORARY BRACING, AND PROTECTIVE STRUCTURES | 1 | LUMP SUM
121 | SP 533 | THREE (3) INCH CONTINUOUS STRIP SEAL IN STRUCTURAL STEEL JOINT | 77 | FOOT
122 | SP 533A | 1 1/2 INCH ELASTOMERIC COMPRESSION SEAL IN STRUCUTRAL STEEL JOINT | 39 | FOOT
123 | SP 536 | CONCRETE WEATHERPROOFING, DECK, ABUTMENT SLABS, AND APPROACH SLABS | 980 | SQ. YD.
124 | SP 607 | TYPE 1 FENCE, ALL ALUMINUM (7'-0" CHAIN LINK WITH SPECIALS) | 482 | FOOT
TOTAL - MP 167.3
MAINTENANCE OF TRAFFIC (Ref. Nos. 125 - 141)
125 | 251 | PARTIAL DEPTH PAVEMENT REPAIR | 100 | SQ. YD.
126 | 255 | FULL DEPTH PAVEMENT REMOVAL AND RIGID REPLACEMENT | 100 | SQ. YD.
127 | 255 | FULL DEPTH PAVEMENT REMOVAL AND RIGID REPLACEMENT (USING RAPID REPAIR CONCRETE MIX MATERIAL) | 100 | SQ. YD.
128 | 255 | FULL DEPTH PAVEMENT SAWING | 200 | FOOT
129 | 614 | LAW ENFORCEMENT OFFICER WITH PATROL CAR FOR ASSISTANCE | 60 | HOUR
130 | 614 | WORK ZONE IMPACT ATTENUATOR FOR 24" WIDE HAZARDS (UNIDIRECTIONAL OR BIDIRECTIONAL) | 4 | EACH
131 | 614 | REPLACEMENT SIGN | 20 | EACH
132 | 614 | REPLACEMENT DRUM | 100 | EACH
133 | 614 | WORK ZONE LANE LINE, CLASS 1, 6", 642 PAINT | 0.14 | MILE
134 | 614 | WORK ZONE EDGE LINE, CLASS 1, 6", 642 PAINT | 0.48 | MILE
135 | 614 | WORK ZONE CHANNELIZING LINE, CLASS 1, 8" | 747 | FOOT
136 | 614 | PORTABLE CHANGEABLE MESSAGE SIGN, AS PER PLAN | 720 | DAYS
137 | SP 614C | REMOVAL OF PAVEMENT MARKING | 0.2 | MILE
138 | 615 | PAVEMENT FOR MAINTAINING TRAFFIC, CLASS A | 62 | SQ. YD.
139 | 615 | ROADS MAINTAINING TRAFFIC | 1 | LUMP SUM
140 | SP 622 | PORTABLE BARRIER, 32" (WITHOUT GLARE SCREEN) | 760 | FOOT
141 | SP 622 | PORTABLE BARRIER, BRIDGE MOUNTED | 120 | FOOT
TOTAL - MAINTENANCE OF TRAFFIC
INCIDENTALS (Ref. Nos. 142 - 147)
142 | IB.ART.6 | PREMIUM FOR CONTRACT PERFORMANCE BOND AND PAYMENT BOND | 1 | LUMP SUM
143 | SP 614 | MAINTAINING TRAFFIC | 1 | LUMP SUM
144 | SP 614ZP | ZONE PERSON WITH ZONE VEHICLE | 5760 | HOUR
145 | SP 619 | FIELD OFFICE | 8 | MONTHS
146 | SP 623 | CONSTRUCTION LAYOUT SURVEY | 1 | LUMP SUM
147 | 624 | MOBILIZATION | 1 | LUMP SUM
TOTAL - INCIDENTALS
SUMMARY
The total amount of the preceding Bid, based upon the approximate quantities given above, and the Unit Prices and Lump Sum specified by the undersigned, amounts to the sum of:
TOTAL BASE BID (INCLUDES REF. NO. 1 THRU REF. NO. 147) ----------------------------------------------->
Item No.'s that do not have an IB or SP designation are items drawn from the 2023 ODOT CMS. Bidders should refer to the 2023 ODOT CMS for information and guidance concerning these items.
;